| Serial No. | 1 |
| --- | --- |
| Item No. | MEK-1 |
| Description | Fancoil |
| Unit | AD |
| Specification | There are 12 fan motor units within the area. After consulting with the authorized service and institution regarding the product information, a fan coil main unit compatible with the capacity of these 12 existing fan motor units shall be procured to activate the system. |