VOLUME 4.2

FINANCIAL OFFER TEMPLATES

LUMP SUM CONTRACTS

Introduction

1.	The breakdown of the lump-sum price (Volume 4.2.3) is the itemised list of prices showing the build-up of the price in a lump-sum contract. This breakdown of the lump-sum price does not derogate in any way to the clause stating that, in a lump-sum contract, the total contract price remains fixed irrespective of the quantity of work actually carried out.

The amounts due will be calculated:

The breakdown must coincide with the payment-definition chosen in Article 49 of the special conditions:

|  | Percentage | Nature | Timing |
| --- | --- | --- | --- |
| 1. | 20% | Lump-sum advance of Article 46.1(a) | After conclusion of the contract |
| 2. | 20% | Interim payment of Article 50 | After completion of 40 % of the firm quantities for which the contractor submitted its all-in price. |
| 3. | 30% | Interim payment of Article 50 | After completion of 70 % of the firm quantities for which the contractor submitted its all-in price. |
| 4. | 20% | Interim payment of Article 50 | After issuing of the certificate of provisional acceptance |
| 5. | 10% | Retention money of Article 47 | Within 45 days of the issuing of the signed final statement of account |

2.	The item description given in the breakdown of the lump-sum price in no way limits the contractor’s obligations under the contract to provide all the works described elsewhere.

3.	The prices of the breakdown of the lump-sum price include all incidental and contingent expenses and all risks necessary to construct, complete and maintain all works in accordance with the contract. Unless separate items are provided in the breakdown of the lump-sum price, prices include all costs involved in the various items of the breakdown.

4.	The lump–sum price and the prices of the breakdown of the lump-sum price are all-inclusive and include any non-exonerated tax or fiscal duty.

VOLUME 4.2.3 — BREAKDOWN OF THE LUMP-SUM PRICE

| Nr | Item | Description | Unit | Unit price | Firm quantities | Lump-sum price EUR |
| --- | --- | --- | --- | --- | --- | --- |
| CONSTRUCTION |  |  |  |  |  |  |
| 1 | INS-1 | hanging acoustic curtains on the ceiling | m2 |  |  |  |
| 2 | INS-2 | portable stage with aluminium profile construction and 21mm plywood water contra on the stage | m2 |  |  |  |
| 3 | 15.530.1005 | Single prof.-60 cm axle spacing 12.5 mm + 12.5 mm + 12.5 mm double layer gypsum wallboard, single sk.t.wool board filling. partition wall. | m2 |  |  |  |
| 4 | 15.280.1009 | Coating with perlite plaster plaster and satin plaster (concrete, brick wall etc. surfaces) | m2 |  |  |  |
| 5 | 15.540.1262 | Applying primer to satin plaster and plasterboard surfaces and applying two coats of water-based semi-finished paint (interior) | m2 |  |  |  |
| 6 | 15.390.1028 | 60 x 60 cm nominal dimensions, all kinds of patterns and surface properties, first quality, coloured, glazed porcelain tiles with 3 mm joint spacing (with tile adhesive) | m2 |  |  |  |
| 7 | INS-3 | Acoustic Carpet Covering (50x50 CM) | m2 |  |  |  |
| 8 | 04.734/A28B1 | 20mm thick. 95 kg / m3 dense. glass wool. front side acus. fabric back side fibreglass acoustic wall panel | m2 |  |  |  |
| 9 | INS-4 | folding wooden sun shading panel | m2 |  |  |  |
| 10 | INS-5 | Making 180cm x 70cm x 50cm pot | piece |  |  |  |
| 11 | INS-6 | 90cm x 220cm aluminium frame glass entrance door | piece |  |  |  |
| 12 | INS-7 | 90cm x 220cm aluminium entrance door with aluminium frame | piece |  |  |  |
| 13 | INS-8 | 180cm x 220cm double opening glass entrance door with aluminium frame | piece |  |  |  |
| 14 | INS-9 | 250cm x 300cm sized double-leaf double sliding photocell door | piece |  |  |  |
| 15 | 18.183 | Demolition of cement mortared masonry and horasan construction | m2 |  |  |  |
| 16 | INS-10 | construction of micro concrete floor covering | m2 |  |  |  |
| 17 | INS-11 | 520cm x 300cm sized double-leaf double sliding photocell door | piece |  |  |  |
| 18 | INS-12 | construction of glass partition wall | m2 |  |  |  |
| 19 | 15.490.1003 | Floor covering with Ac4 class 32 laminate floor covering (including skirting) | m2 |  |  |  |
| 20 | 15.530.1907 | Suspended ceiling with double frame suspension system with gypsum boards (Suspension rod distance. 900mm in the same direction, main carrier profile distance. | m2 |  |  |  |
| 21 | INS-13 | 355cm x 300cm double-leaf double sliding photocell door | piece |  |  |  |
| 22 | INS-14 | Making a decorative wall with mdf baffle panels | m2 |  |  |  |
| 23 | 15.550.1202 | Making and fitting of various iron works from bars and profile iron (carcasses made of profile for interior partition walls and ceilings) | kg |  |  |  |
| 24 | INS-15 | Labour for dismantling and transport of existing materials | piece |  |  |  |
|  |  |  |  | TOTAL |  |  |
|  |  |  |  | VAT |  |  |
|  |  |  |  | TOTAL (VAT included ) |  |  |
| ELECTRIC |  |  |  |  |  |  |
| VOICE AND STAGE |  |  |  |  |  |  |
| 1 | 35.450.2600 | TWINAXIAL 2x1,5mm² CABLE | m |  |  |  |
| 2 | 35.450.2700 | MY-206 SW BALANCE MICROPHONE CABLE | m |  |  |  |
| 3 |  | HDMI CABLE | m |  |  |  |
| 4 | 35.450.1002 | SOUND MIXER | piece |  |  |  |
| 5 |  | 8x8 HDMI MATRIX SWITCHER | piece |  |  |  |
| 6 |  | Various intermediate cable connector set | piece |  |  |  |
| CCTV SYSTEM |  |  |  |  |  |  |
| 7 | 35.505.2030 | U/UTP cat6 copper data cable | m |  |  |  |
| LIGHTING |  |  |  |  |  |  |
| 8 | 35.160.3331 | NORMAL LIGHTING SORTIE | piece |  |  |  |
| 9 | 35.160.3332 | Commutator lighting sortie | piece |  |  |  |
| 10 | 35.160.3334 | Parallel sortie | piece |  |  |  |
| 11 | 35.185.1101 | NORMAL SWITCH | piece |  |  |  |
| 12 | 35.185.1102 | Recessed commutator switch | piece |  |  |  |
| 13 |  | LIGHTING LIBRITY | piece |  |  |  |
| 14 | E-14 | 20W DOWNLIGHT LED LUMINAIRE | piece |  |  |  |
| 15 | E-15 | 5W IP67 LED SPOTLIGHT | piece |  |  |  |
| 16 | E-16 | 6 PIECE CHANDELIER | piece |  |  |  |
| 17 | E-17 | 2x18W LAMP | piece |  |  |  |
| 18 | E-18 | 18W APPLICATION | piece |  |  |  |
| 19 | E-19 | 18W DECORATIVE PENDANT | piece |  |  |  |
| 20 | E-20 35.440.2104 | EXIT LUMINAIRE (3 HOURS DURATION) | piece |  |  |  |
| 21 | E-21 | 20W LED SPOT | piece |  |  |  |
| 22 | E-22 | 30W TRACK TYPE SPOTLIGHT | piece |  |  |  |
| 23 | E-23 | RAIL FOR RAIL TYPE SPOTLIGHTS | m |  |  |  |
| 24 | E-24 | 20W TABLE TOP LAMPSHADE | piece |  |  |  |
| 25 | E-25 35.170.2142 | LED STRIP FOR STAND LIGHTING | m |  |  |  |
| 26 | E-26 35.170.2140 | INSIDE CABINET LED STRIP | m |  |  |  |
| CABLE TRAY |  |  |  |  |  |  |
| 27 | E-27 | 200x50 mm Hot-Dip Galvanized Cable Tray (Including Accessories) | m |  |  |  |
| 28 | E-28 | 100x50 mm Hot-Dip Galvanized Cable Tray (Including Accessories) | m |  |  |  |
| SOCKET |  |  |  |  |  |  |
| 29 | 35.160.3503 | GROUNDED SOCKET SORTING | piece |  |  |  |
| 30 | 35.160.3503 | FAN COIL SORTING | piece |  |  |  |
| 31 | 35.160.3503 | SLIDING DOOR FEED SORTIE | piece |  |  |  |
| 32 | 35.160.3503 | WIFI ACCESS POINT FEED SORTIE | piece |  |  |  |
| 33 | 35.160.3503 | BOILER FEED SORTIE | piece |  |  |  |
| 34 | 35.185.1201 | GROUND SOCKET | piece |  |  |  |
| ENERGY DISTRIBUTION |  |  |  |  |  |  |
| 35 | 35.150.2197 | 4x35mm² N2XH CABLE | m |  |  |  |
| 36 | E-34 | Distribution Panel, including switchgear | piece |  |  |  |
| 37 | E-35 | ADP Meter Panel, including switchgear | piece |  |  |  |
| TV SYSTEM |  |  |  |  |  |  |
| 38 | 35.481.1340 | QUATTRO LNB | piece |  |  |  |
| 39 | 35.481.1150 | 10x8 MULTISWITCH | piece |  |  |  |
| 40 | 35.505.1026 | RG6-U6 CABLE | m |  |  |  |
| 41 | 35.505.1020 | RG11-U6 CABLE | m |  |  |  |
| 42 | E-29 35.481.1400 | TV Socket | piece |  |  |  |
| DATA PHONE SYSTEM |  |  |  |  |  |  |
| 43 | 35.190.1704 | RJ45 DATA SWITCH | piece |  |  |  |
| 44 | 35.190.1703 | RJ11 PHONE SWITCH | piece |  |  |  |
| 45 | 35.400.1010 | WİFİ ACCESS POİNT | piece |  |  |  |
| 46 | 35.540.4008 | 3x1 OBK FİBER CABLE | m |  |  |  |
| 47 | 35.505.2030 | U/UTP cat6 copper data cable | m |  |  |  |
| 48 | 35.446.2140 | 32 Port 10/100/1000 Mbps Gigabit Switch | piece |  |  |  |
| 49 |  | RAK CABIN (ACCESSUAR INCLUDED) | piece |  |  |  |
| FIRE DETECTION AND WARNING SYSTEM |  |  |  |  |  |  |
| 50 | 35.515.1002 | 2x2x0,8+0,8mm²JH(st)H CABLE | m |  |  |  |
| 51 | 35.515.2090 | 2x1,5mm+1,5mm LIH(St)H CABLE | m |  |  |  |
| 52 | E-31 35.410.2020 | Smoke Detector | piece |  |  |  |
| 53 | E-32 35.410.2540 | Fire Alarm Button | piece |  |  |  |
| 54 | E-33 35.410.3030 | Fire Alarm Siren | piece |  |  |  |
|  |  |  |  | TOTAL |  |  |
|  |  |  |  | VAT |  |  |
|  |  |  |  | TOTAL (VAT included ) |  |  |
| MECHANICS |  |  |  |  |  |  |
| 1 | MEK-1 | Fancoil | piece |  |  |  |
| 2 | MEK-2 | main natural gas line | piece |  |  |  |
| 3 | MEK-3 | Viessmann 49kw vitolens 200w | piece |  |  |  |
| 4 | MEK-4 | heating circuit connection set | piece |  |  |  |
| 5 | MEK-5 | external additional connection AM1 | piece |  |  |  |
| 6 | MEK-6 | departure sensor | piece |  |  |  |
| 7 | MEK-7 | DN80 balance vessel | piece |  |  |  |
| 8 | MEK-8 | 100H expansion tank | piece |  |  |  |
| 9 | MEK-9 | circulation pump 80/100 evosta 3 | piece |  |  |  |
| 10 | MEK-10 | natural gas internal installation +export selonoid | piece |  |  |  |
| 11 | MEK-11 | ventilation (space) + steel chimney | piece |  |  |  |
| 12 | MEK-12 | electrical installation works | piece |  |  |  |
| 13 | MEK-13 | additional material, fittings elements | piece |  |  |  |
| 14 | MEK-14 | labour and installation cost | piece |  |  |  |
|  |  |  |  | TOTAL |  |  |
|  |  |  |  | VAT |  |  |
|  |  |  |  | TOTAL (VAT included ) |  |  |

| TOTAL PRICE |  |
| --- | --- |
|  | TOTAL PRICE |
| 1.CONSTRUCTION |  |
| 2.ELECTRIC |  |
| 3.MECHANICS |  |
| TOTAL |  |
| VAT |  |
| TOTAL (incl VAT) |  |